DEENDAYAL PORT TRUST

(Formerly known as Kandla Port Trust)

Office of the Electrical Engineer,

Port & Customs Building, 						Tel	: (02836)270209 / 270342

New Kandla (Kutch), Gujarat-370210.					FAX	: (02836) 270184 / 270475

No.EL/AC/2691-1				 		                                     Date:      05/01/2023

To

M/s. ______________________.,

___________________________,

___________________________,

___________________________.

“EXPRESSION OF INTEREST (EOI)”

Subject – “Refurbishing of power supply of Hold & Close drive of crane no  2 at berth no  2”

Sir,

Expression of interest (EOI) are invited to carry out the work “Refurbishing of Power Supply of  Hold & Close drive of crane no 2 at berth no 2” as per the Scope of work, Technical specification, Terms &, Conditions stipulated below.

The Expression of Interest (EOI) along with Schedule-B should reach this office of undersigned on or before 11/01/2023 at 17.00hrs or scanned copy of scanned offer also accepted on e-mail electricalkandla@gmail.com which shall be opened on the same day.

Yours faithfully,

Executive Engineer (M)

Deendayal Port trust.

| Name of work: Refurbishing of Power Supply of Hold & Close drive of crane no 2 at berth no 2 Schedule-B Sr. No.; Description of Items; Qty; Rate; Unit; Amount. 1; Supply at Site IGBT Module SP Kit For 450KVA Drive of Type FS450R12KE3/AGDR-61C suitable for ABB Drive along with heat sink paste.; 6; No. 2; Supply at Site Main Circ Interface card Type AINT-02C suitable For 450KVA ABB Drive.; 2; No. 3; Supply at site Pre- charging register (3.3 ohm) suitable for 450 KVA drive; 3; No. 4; Repairing & Servicing of entire hold & close (450KV) drive & Electrical System of crane no 2 and put in operation on load; Complete job; Complete job. |
| --- |
| Total Amount: Rs. |  |  |

(In Words:Rs.____________________________________________________________________________________)

Signature & Seal of                                                                                Executive Engineer (M)

Contractor                                                                                                Deendayal Port Trust

Scope of Work & Technical Specification

- Scope of Work

  - The work involves repairing and servicing of the close 450KVA drive of crane 2  with the card  which are not supportive / non- with material placed in schedule –B.

  - The work involves Supply of material at store and same to be used in the crane and making the crane operational within 24 hrs.

Technical Specifications

- TECHNICAL SPECIFICATIONS 1 FOR ITEM NO. 1, 2 & 3

This includes supply at site IGBT Module SP Kit For 450KVA Drive of Type FS450R12KE3/AGDR-61C supply of AINT-02C (interface card) & 3.3 ohm Pre-charging the quantity should be as mentioned in schedule. The contractor should obtain approval before procurement of material as mentioned in schedule B and get final clearance from Engineer-in-charge.

The rate shall be Exclusive GST but Inclusive of other taxes, packing, forwarding, insurance, transportation and unloading at site of work etc.

2.  	TECHNICAL SPECIFICATIONS 2 FOR ITEM NO. 4

The includes Repairing / servicing / overhauling of 450KVA (Hold & Close) drive and entire electrical cabling and  test running of the crane through electrical power in presence of Engineer-in Charge if any extra material required for electrical operating the crane the arrangement should be done by the contractor..

Signature & Seal                                                                                                                            Executive Engineer (M)

Of Contractor                                                                                                                                    Deendayal Port Trust